## MPS MAR2026
MPS Transformer MODEL | Final Assy CoO | Wind | Assy | Type | Power | Description/Power | Typical Application/Notes | Similar Transformers | Lam Stack/Size | Covers | Mounting | SHIP WT | Ebay Price (+ US SLS TX*) | PayPal Price SLS TX TN/FL only*
BASIC Single Ended Output Xfmrs
OT8SE+ STD Frame | MX | MX | MX | SE | 8VA | 5k/7K: 4,8,16 Ohm 8W 50mAdc | Upgraded Champ OT and similar 60Hz - 15KHz | EDCOR CXSE/GXSE-5 Series | EI75x1" | 2 hole frame | 2 hole mt 2.82in | 1.5# | 37.95 | 34.95
OT10SE STD Frame | MX | MX | MX | SE | 12VA | 5k/7K: 4,8,16 Ohm 12W 60mAdc | 5-12W SE Champ/Princeton similar 6V6, EL84,6L6 tube | EDCOR GXSE-10 Series | EI87x1" | 2 hole frame | 2 hole mt 3.12in | 1.9# | 39.95 | 37.95
OT10SE HC87 | MX | MX | MX | SE | 12VA | 5k/7K: 4,8,16 Ohm 12W 60mAdc | 5-12W SE Champ/Princeton similar 6V6, EL84,6L6 tube | EDCOR GXSE-10 Series | EI87x1" | HC87 covers | 4 hole X mount | 2.0# | 39.95 | 37.95
OT10SE VC87 | MX | MX | MX | SE | 12VA | 5k/7K: 4,8,16 Ohm 12W 60mAdc | 5-12W SE Champ/Princeton similar 6V6, EL84,6L6 tube | EDCOR GXSE-10 Series | EI87x1" | VC87 covers | 4 hole X mount | 2.0# | 39.95 | 37.95
OT20SE USA HC100 | USA | USA | USA | SE | 20VA | 2K3/3K: 4,8,16 Ohm 20W | 8-20W SE amps 60Hz-15Khz |  | EI100x1.12" | HC100 covers | 4 hole X mount | 2.4# | 74.95 | 69.95
BASIC Push Pull Output Xfmrs
OT5PP-STD-USA | USA | USA | USA | PP | 5VA | 22K5: 4/8/16 Ohm 5W (1" stack) | Upgraded Small PP amps/preamps 50Hz - 15KHz | Fender 125A20B / 022921 | EI75x1" | 2 hole frame | 2 hole mt 2.82in | 1.2# | 44.95 | 41.95
OT5PP+ | MX | MX | MX | PP | 5VA | 22K5: 4/8/16 Ohm 5W (1" stack) | Upgraded Small PP amps/preamps 50Hz - 15KHz | Fender 125A20B / 022921 | EI75x1" | 2 hole frame | 2 hole mt 2.82in | 1.5# | 37.95 | 34.95
OT12PP-8K4x8-USA | USA | USA | USA | PP | 15VA | 8K4: 8 Ohm 15W | Tweed Dlx/Princeton Reverb OT - shielded 2-hole 40Hz- 15KHz) | Fender 022913 / 125A10B | EI87x0.875" | Shielded frame | 2 hole mt 2.82in | 2.0# | 44.95 | 41.95
OT12PP+ | MX | MX | MX | PP | 18VA | 8K/10K: 4/8/16 Ohm 15W | Tweed Dlx/Princeton Reverb OT - shielded 2-hole 40Hz- 15KHz) | Fender 022913 / 125A10B | EI87x1.0" | 2 hole frame | 2 hole mt 2.82in | 2.0# | 39.95 | 37.95
OT16PP STD USA | MX | USA | USA | PP | 22VA | 6K6: 4/8/16 Ohm 22W | 6V6 PP amps like BF Deluxe | Fender 125A1A / 022640 | EI87x1" | 2 hole frame | 2 hole mt 3.12in | 1.9# | 47.95 | 45.95
OT17PP STD USA | MX | USA | USA | PP | 22VA | 8K: 4/8/16 Ohm 22W | Various Tweed and Marshall 6V6 and EL84 P-P amps | Fender 125A10B, 022913, M18 | EI87x1" | 2 hole frame | 2 hole mt 3.12in | 1.9# | 47.95 | 45.95
OT20PP STD | USA | MX | USA | PP | 22VA | 6K6/8K: 4/8/16 Ohm 22W | Deluxe, M18 - 6V6 and EL84 PP amps (BF DLX, M18) |  | EI87x1" | 2 hole frame | 2 hole mt 3.12in | 1.9# | 43.95 | 41.95
OT20PP HC87 | USA | MX | USA | PP | 22VA | 6K6/8K: 4/8/16 Ohm 22W | Deluxe, M18 - 6V6 and EL84 PP amps (BF DLX, M18) |  | EI87x1" | VC87 covers | 4 hole X mount | 2.0# | 43.95 | 41.95
OT20PP VC87 | USA | MX | USA | PP | 22VA | 6K6/8K: 4/8/16 Ohm 22W | Deluxe, M18 - 6V6 and EL84 PP amps (BF DLX, M18) |  | EI87x1" | HC87 covers | 4 hole X mount | 2.0# | 43.95 | 41.95
OT19PP USA HC100 | USA | MX | USA | PP | 25VA | 8K: 4/8/16 Ohm 25W | Marshall 18W & 40Hz-15KHz lite HiFi (EL84) | RS Deluxe OT | EI100x1.12" | HC100 covers | 4 hole X mount | 2.4# | 74.95 | 69.95
OT22PP USA HC100 | USA | USA | USA | PP | 30VA | 6K6: 4/8/16 Ohm 30W | Oversized Deluxe OT & 40Hz-15KHz lite HiFi (6V6) |  | EI100x1.12" | HC100 covers | 4 hole X mount | 2.4# | 79.95 | 69.95
OT22PP-DLX-8 USA (New) | USA | USA | USA | PP | 30VA | 6K6: 4/8/16 Ohm 30W | Oversized Deluxe OT shielded 2-Hole frame (3.12in) | Fender 022848 | EI7/8x1.25" | Frame/Steel Covers | 2 hole mt 3.12in | 2.4# | 79.95 | 74.95
OT33PP USA HC100 | USA | MX | USA | PP | 45VA | 3K3: 4/8/16 Ohm 45W | 30 to 45W EL34, Quad 6V6 50Hz- 20KHz |  | EI100x1.12" | HC100 covers | 4 hole X mount | 2.4# | 74.95 | 69.95
OT42PP HC100 | USA | USA | USA | PP | 45VA | 4K2: 4/8/16 Ohm 45W | Fender 2 x 6L6 amps (Bandmaster) 50Hz- 20KHz | Fender 022848, 125A6A, 125A7A | EI100x1.12" | HC100 covers | 4 hole X mount | 2.4# | 79.95 | 74.95
OT45PP-JTM | USA | USA | USA | PP | 45VA | 7K8: 4/8/16 Ohm | Marshall 45W JTM projects (Marshall JTM 45) | Drake 784-103, Drake 784-128 | EI112x1.4" | FM200 Bells | 4 hole X mount | 4.0# | 94.95 | 88.95
OT50PP-JCM | USA | USA | USA | PP | 50VA | 3K4: 4/8/16 Ohm | Marshall 50W JCM projects (Marshall JCM 50) |  | EI112x1.4" | FM200 Bells | 4 hole X mount | 4.0# | 94.95 | 88.95
HiFi Output Xfmrs
OT10SE-HF-5K | USA | USA | USA | SE HiFi | 8VA | Single Ended 5k: 4,8 Ohm 8W- 50mADC | Basic SE HiFi 40Hz - 20KHz | EDCOR GXSE-10 Series | EI87x1.25" | VC87 covers | 4 hole X mount | 2.3# | 69.95 | 65.95
OT10SE-HF-7K | USA | USA | USA | SE HiFi | 8VA | Single Ended 7k: 4,8 Ohm 8W- 50mADC | Basic SE HiFi 40Hz - 20KHz | EDCOR GXSE-10 Series | EI87x1.25" | VC87 covers | 4 hole X mount | 2.3# | 69.95 | 65.95
OT11SE-HF-3K5 (Coming Soon) | USA | CN | USA | SE HiFi | 12VA | Single Ended 3K5: 4,8 Ohm 12W- 60mADC | Basic SE HiFi 30Hz - 20KHz | EDCOR GXSE-15 Series | EI-100x1.25" | FM100 covers | 4 hole X mount | 3.0# | 79.95 | 74.95
OT11SE-HF-5K (Coming Soon) | USA | CN | USA | SE HiFi | 12VA | Single Ended 5k: 4,8 Ohm 12W- 60mADC | Basic SE HiFi 30Hz - 20KHz | EDCOR GXSE-15 Series | EI-100x1.25" | FM100 covers | 4 hole X mount | 3.0# | 79.95 | 74.95
OT12SE-HF-2K5 | USA | USA | USA | SE HiFi | 12VA | Single Ended 3K5: 4,8 Ohm 12W- 60mADC | Basic SE HiFi 30Hz - 20KHz | EDCOR GXSE-15 Series | EI-100x1.25" | FM100 covers | 4 hole X mount | 3.0# | 99.95 | 94.95
OT15SE-HF-2K5 | USA | USA | USA | SE HiFi | 15VA | Single Ended 3K5: 4,8 Ohm 15W- 65mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 114.95 | 109.95
OT15SE-HF-3K5 | USA | USA | USA | SE HiFi | 15VA | Single Ended 3K5: 4,8 Ohm 15W- 65mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 114.95 | 109.95
OT15SE-HF-5K | USA | USA | USA | SE HiFi | 15VA | Single Ended 5k: 4,8 Ohm 15W- 65mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 114.95 | 109.95
OT20SE-HF-2K5 | USA | USA | USA | SE HiFi | 18VA | Single Ended 2K5: 4,8 Ohm 18W- 80mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.75" | FM100 covers | 4 hole X mount | 3.8# | 124.95 | 119.95
OT20SE-HF-3K5 | USA | USA | USA | SE HiFi | 18VA | Single Ended 3K5: 4,8 Ohm 18W- 80mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.75" | FM100 covers | 4 hole X mount | 3.8# | 124.95 | 119.95
OT20SE-HF-5K | USA | USA | USA | SE HiFi | 18VA | Single Ended 5K: 4,8 Ohm 18W- 80mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-100x1.75" | FM100 covers | 4 hole X mount | 3.8# | 124.95 | 119.95
OT25SE-HF-2K5 | USA | USA | USA | SE HiFi | 22VA | Single Ended 2K5: 4,8 Ohm 22W- 100mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-112x1.4" | FM200 covers | 4 hole X mount | 4.5# | 149.95 | 139.95
OT25SE-HF-3K5 | USA | USA | USA | SE HiFi | 22VA | Single Ended 3K5: 4,8 Ohm 22W- 100mADC | Basic SE HiFi 30Hz - 20KHz |  | EI-112x1.4" | FM200 covers | 4 hole X mount | 4.5# | 149.95 | 139.95
OT12PP-5K-HF USA | USA | USA | USA | PP HiFi | 12VA | Push-Pull 5K: 4,8 Ohm 12W | Basic SE HiFi 40Hz - 20KHz | EDCOR XPP-15 Series | EI87x1.25" | VC87 covers | 4 hole X mount | 2.3# | 79.95 | 74.95
OT12PP-6K6-HF USA | USA | USA | USA | PP HiFi | 12VA | Push-Pull 6k6: 4,8 Ohm 12W | Basic SE HiFi 40Hz - 20KHz | EDCOR XPP-15 Series | EI87x1.25" | VC87 covers | 4 hole X mount | 2.3# | 79.95 | 74.95
OT12PP-8K-HF USA | USA | USA | USA | PP HiFi | 12VA | Push-Pull 8k: 4,8 Ohm 12W | Basic SE HiFi 40Hz - 20KHz | EDCOR XPP-15 Series | EI87x1.25" | VC87 covers | 4 hole X mount | 2.3# | 79.95 | 74.95
OT15PP-5K-HF USA | USA | USA | USA | PP HiFi | 15VA | Push-Pull 5K: 4,8 Ohm 15W | Basic PP HiFi 30Hz - 20KHz | EDCOR GXPP-15 Series | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 109.95 | 104.95
OT15PP-6K6-HF USA | USA | USA | USA | PP HiFi | 15VA | Push-Pull 6K6: 4,8 Ohm 15W | Basic PP HiFi 30Hz - 20KHz | EDCOR GXPP-15 Series | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 109.95 | 104.95
OT15PP-6K6UL-HF USA | USA | USA | USA | PP HiFi | 15VA | Push-Pull 6K6: 4,8 Ohm 15W 33% UL TAPS | Basic PP HiFi 30Hz - 20KHz- 33% UL | EDCOR GXPP-15 Series | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 114.95 | 109.95
OT15PP-8K-HF USA | USA | USA | USA | PP HiFi | 15VA | Push-Pull 8k: 4,8 Ohm 15W | Basic PP HiFi 30Hz - 20KHz | EDCOR GXPP-15 Series | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 109.95 | 104.95
OT15PP-8KUL-HF USA | USA | USA | USA | PP HiFi | 15VA | Push-Pull 8k: 4,8 Ohm 15W 25% UL TAPS | Basic PP HiFi 30Hz - 20KHz- 25% UL | EDCOR GXPP-15 Series | EI-100x1.5" | FM100 covers | 4 hole X mount | 3.3# | 114.95 | 109.95
OT19PP-DYN35-4-8 USA (v23) | USA | USA | USA | PP HiFi | 18VA | PP 8K: 4/8 Ohm 18W EI100 x 1.5in | 17.5W/CH Dynaco ST-35 (25-20KHz)- 25% UL | Dynaco Z565 | EI-100x1.5" | C100 No Flange Cvr | 4 hole X mount | 3.3# | 124.95 | 119.95
OT19PP-DYN35-8-16 USA (v23) | USA | USA | USA | PP HiFi | 18VA | PP 8K: 8/16 Ohm 18W EI100 x 1.5in | 17.5W/CH Dynaco ST-35 (25-20KHz)- 25% UL | Dynaco Z565 | EI-100x1.5" | C100 No Flange Cvr | 4 hole X mount | 3.3# | 124.95 | 119.95
Custom Output Xfmrs | CoO |  |  | Title |  | Direct Order info | Direct Order info |  | Lam Core Size | Custom Output Xfmrs |  | Weight
Custom EI75 OT's | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI75x1" | Various | Various | 1.5# | NA | $49.95+
Custom EI87 Std Iron OT | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI87x1" | Various | Various | 2.0# | NA | $59.95+
Custom EI87 Lg Iron OT | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI87x1.25" | Various | Various | 2.2# | NA | $74.95+
Custom EI100 Std Iron OT | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI100x1.25" | Various | Various | 2.7# | NA | $99.95+
Custom EI100 1.5 iron OT | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI100x1.5" | Various | Various | 3.3# | NA | $119.95+
Custom EI112 OT's | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI112x1.5" | Various | Various | 4.5# | NA | $129.95+
Custom EI125 OT's | USA | USA | USA | OT Custom |  | LT per backlog- we develop your spec | Your input/outputs and power, Freq reqts |  | EI125x1.7" | Various | Various | 6.0# | NA | $139.95+
Power Transformers
PT190.1 USA (120Vac) | USA | USA | USA | PT-380Vct | 25VA | 25VA EI87 x 1.0IN 40mA, IP: 120Vac | Pre-amp and uAmp 260Vdc B+ |  | EI87x1" | VC87 covers | 4 hole X mount | 2.0# | 49.95 | 44.95
PT240.1 USA (120Vac) | USA | USA | USA | PT-480Vct | 25VA | 25VA EI87 x 1.0IN 40mA, IP: 120Vac | Pre-amp and uAmp 340Vdc B+ |  | EI87x1" | VC87 covers | 4 hole X mount | 2.0# | 49.95 | 44.95
PT250.1 USA (120Vac) | USA | USA | USA | PT-500Vct | 25VA | 25VA EI87 x 1.0IN 40mA, IP: 120Vac | Pre-amp and uAmp 350Vdc B+ |  | EI87x1" | VC87 covers | 4 hole X mount | 2.0# | 49.95 | 44.95
PT190.2 USA (120Vac) | USA | USA | USA | PT-380Vct | 65VA | 65VA EI100 x 1.4IN 120mA, IP: 120Vac | 240-260Vdc B+ amps |  | EI100x1.6" | FM100 Bells | 4 hole X mount | 3.8# | 79.95 | 74.95
PT275.2 USA (120Vac) | USA | USA | USA | PT-550Vct | 65VA | 65VA EI100 x 1.4IN 100mA, IP:120/240Vac | 365- 385Vdc B+ amps |  | EI100x1.6" | FM100 Bells | 4 hole X mount | 3.8# | 79.95 | 74.95
PT275.2i USA (120/240v) | USA | USA | USA | PT-550Vct | 65VA | 65VA EI100 x 1.4IN 100mA, IP: 120Vac | 365- 385Vdc B+ amps |  | EI100x1.6" | FM100 Bells | 4 hole X mount | 3.8# | 79.95 | 74.95
PT290.2 USA (120Vac) | USA | USA | USA | PT-580Vct | 65VA | 65VA EI100 x 1.4IN 90mA, IP: 120Vac | 400 - 420Vdc B+ amps |  | EI100x1.6" | FM100 Bells | 4 hole X mount | 3.8# | 79.95 | 74.95
PT325.2 USA (120Vac) | USA | USA | USA | PT-650Vct | 65VA | 65VA EI100 x 1.4IN 90mA, IP: 120Vac | 440- 460Vdc B+ amps |  | EI100x1.6" | FM100 Bells | 4 hole X mount | 3.8# | 79.95 | 74.95
PT330.2-DYN35 USA (120v) | USA | USA | USA | PT-660Vct | 95VA | 95VA EI100 x 2.0IN 200mA, IP: 120Vac | 450- 475Vdc B+ amps (Dyanco ST35/SCA35) |  | EI100x2.0" | C100 Low Profile | 4 hole X mount | 5.0# | 124.95 | 119.95
PT190Mi USA(120/240v) | USA | USA | USA | PT-380Vct | 85VA | 85VA EI112 x 1.7IN 150mA, IP: 120/240Vac | 365- 385Vdc B+ amps |  | EI112x1.75" | FM200 Bells | 4 hole X mount | 5.0# | 99.95 | 94.95
PT275Mi USA(120/240v) | USA | USA | USA | PT-550Vct | 85VA | 85VA EI112 x 1.7IN 150mA, IP: 120/240Vac | 365- 385Vdc B+ amps |  | EI112x1.75" | FM200 Bells | 4 hole X mount | 5.0# | 99.95 | 94.95
PT285Mi USA(120/240v) | USA | USA | USA | PT-570Vct | 85VA | 85VA EI112 x 1.7IN 150mA, IP: 120/240Vac | 385- 405Vdc B+ amps (Marshall 18W above chassis) |  | EI112x1.75" | FM200 Bells | 4 hole X mount | 5.0# | 99.95 | 94.95
PT330M-DYN35 US(120v) | USA | USA | USA | PT-660Vct | 85VA | 85VA EI112 x 1.7IN 140mA, IP: 120Vac | ST/SCA35 amps non-OEM chassis |  | EI112x1.75" | HC200 Bells | 4 hole X mount | 5.0# | 124.95 | 119.95
PT330Mi US(120/240v) | USA | USA | USA | PT-660Vct | 85VA | 85VA EI112 x 1.7IN 140mA, IP: 120/240Vac | 445- 465Vdc B+ amps (BF Deluxe above chassis) |  | EI112x1.75" | FM200 Bells | 4 hole X mount | 5.0# | 99.95 | 94.95
PT350Mi US(120/240v) | USA | USA | USA | PT-700Vct | 85VA | 85VA EI112 x 1.7IN 140mA, IP: 120/240Vac | 485- 505Vdc B+ amps (Tweed DLX above chassis) |  | EI112x1.75" | FM200 Bells | 4 hole X mount | 5.0# | 99.95 | 94.95
PT350M-TWD-USA(120v) | USA | USA | USA | PT-700Vct | 85VA | 85VA EI112 x 1.7IN 150mA, IP: 120Vac | 485- 505Vdc B+ amps |  | EI112x1.5" | HC200 covers | 4 hole X mount | 4.5# | 114.95 | 109.95
PT345P-JTM(120Vac) | USA | USA | USA | PT-690Vct | 110VA | 110VA EI125 x 1.7IN 175mA, IP: 120Vac | 465- 495Vdc B+ amps |  | EI125x1.7" | HC300 covers | 4 hole X mount | 6.0# | 109.95 | 104.95
PT350P US(120Vac) | USA | USA | USA | PT-700Vct | 110VA | 110VA EI125 x 1.7IN 180mA, IP: 120Vac | 485- 505Vdc B+ amps |  | EI125x1.7" | HC300 covers | 4 hole X mount | 6.0# | 109.95 | 104.95
PT350P-JCM(120Vac) | USA | USA | USA | PT-700Vct | 110VA | 110VA EI125 x 1.7IN 175mA, IP: 120Vac | 485- 505Vdc B+ amps |  | EI125x1.7" | HC300 covers | 4 hole X mount | 6.0# | 109.95 | 104.95
Custom EI87 PT's | USA | USA | USA | PT |  | 3 to 6 weeks LT- we develop your spec | Your input/outputs and power reqts |  | EI87x1" | Various | Various | 2.0# | NA | 69.95+
Custom EI100 PT's | USA | USA | USA | PT |  | 3 to 6 weeks LT- we develop your spec | Your input/outputs and power reqts |  | EI100x1.5" | Various | Various | 3.8# | NA | 84.95+
Custom EI112 PT's | USA | USA | USA | PT |  | 3 to 6 weeks LT- we develop your spec | Your input/outputs and power reqts |  | EI112x1.5" | Various | Various | 5.0# | NA | 99.95+
Custom EI125 PT's | USA | USA | USA | PT |  | 3 to 6 weeks LT- we develop your spec | Your input/outputs and power reqts |  | EI125x1.7" | Various | Various | 6.0# | NA | 114.95+
Add Dual Mains (120/240) | USA | USA | USA | PT | [9 empty] | 15
Chokes
L4M50 STD Choke | MX | MX | MX | Choke | 50mADC | EI75 x 3/4IN, Gapped Construction 4H x 50mADC -450Vdc no shield | Power filter |  | EI75x1" | 2 hole frame | 2 hole mt 2.82in | 1.0# | 17.95 | 16.95
Custom EI75 Chokes | USA | USA | USA | Choke |  | 2 to 4 weeks LT- we develop your spec | Power filter- custom specs |  | EI75x1" | Various | Various | 1.0# | NA | 29.95+
Custom EI87 Chokes | USA | USA | USA | Choke |  | 2 to 4 weeks LT- we develop your spec | Power filter- custom specs |  | EI87x1" | Various | Various | 2.0# | NA | 39.95+
Custom EI100 Chokes | USA | USA | USA | Choke |  | 2 to 4 weeks LT- we develop your spec | Power filter- custom specs |  | EI1 x 1.25" | Various | Various | 2.5# | NA | 49.95+
*Notes on collection of US Sales Taxes & International Sales | [13 empty] | MPS JAN 2025
Ebay as a large business is required to collect US Sales in most US States | [13 empty] | Pricelist
MPS as a small FL/TN business (<$100K/state) is required to collect Sales tax on PayPal orders to TN and FL customers only- Direct PayPal orders will be 6 to 10% less expensive than Ebay
Shipments outside the USA will likely encounter new tariffs and VAT. Ebay Direct shipping handles VAT automatically and offers competitve forwarding costs. | [5 empty] | VAT/Duty on shipment of direct PayPal orders to a non-USA address are the buyer's responsibilty